Michigan Department of Health and Human Services

Bureau of Laboratories

AZ.003 Arbovirus Plaque Reduction Neutralization Test (PRNT)

Rev 01/29/2025

ANALYTES TESTED:

Neutralizing antibodies to Eastern Equine Encephalitis virus (EEEV); St. Louis Encephalitis virus (SLEV); California Group viruses (CGVs): La Crosse (LACV) and Jamestown Canyon viruses (JCV); West Nile virus (WNV); Dengue virus types 1 & 2; and Zika virus.

USE OF TEST:

Determination of the presence of neutralizing antibodies in cerebrospinal fluid (CSF) or serum for WNV, SLEV, EEEV, and CGVs and in serum for Dengue and Zika viruses. Infection with Zika and Dengue viruses is demonstrated by a single serum titer of >1:10, whereas for WNV, SLEV, EEEV and CGVs, determination of recent infection is demonstrated by a CSF titer of >1:2, a serum titer of >1:5, or a four-fold increase in neutralizing antibody level between an acute and convalescent sera. This assay is used to distinguish between related arboviruses when IgM screening cannot make this distinction.

SPECIMEN COLLECTION AND SUBMISSION GUIDELINES:

Test Request Form: MDHHS-6084.

CSF specimens preferred.

Serum requires prior approval: Serum Collection and Submission.

Specimen transport temperature: on frozen cold packs or dry ice, (<8°C).

No special patient preparation is required.

SPECIMEN TYPE:

Specimen required for WNV, SLEV, EEEV, CGVs: Single CSF, single serum*, acute/convalescent paired sera*.

  - Minimum acceptable volume: 1.5 mL.

  - Container: 3- or 5-mL polypropylene screw capped tube or CSF tube #2 or #3.

  - Shipping Unit: Unit 8A.

*NOTE: Prior approval from the Virology Section Manager (517-335-8099) or from Epidemiology (517-335-8165) is required for testing performed on serum.  Acute and convalescent sera should be submitted together. The acute specimen should be drawn at least 8 days post-onset and the convalescent drawn at least 22 days post-onset with a 2–3-week period between blood draws.

Specimen required for Zika and Dengue: Serum

  - Minimum acceptable volume: 1.0 mL.

  - Container: 3- or 5-mL polypropylene screw capped tube or serum separator tube.

  - Shipping Unit: Unit 8A.

Additional specimen types accepted: CSF (> 1mL) – must be accompanied with serum.

SPECIMEN REJECTION CRITERIA:

Specimens lacking two unique patient identifiers (i.e., full name, date of birth) will not be tested.

Specimens that are grossly contaminated or hemolyzed may be unsatisfactory for testing.

Specimen is leaking.

Specimens received outside of appropriate transport temperature may not be tested.

Plasma is unacceptable for testing by this method.

TEST PERFORMED:

Methodology: Plaque Reduction Neutralization Test (PRNT).

Turnaround Time: 2-4 weeks (results usually available within 3 weeks).

Testing is performed weekly at the Bureau of Laboratories (May-October for WNV, SLEV, EEEV and CGVs).

Specimens for these analytes received from November - April will be sent to the Center for Disease Control and Prevention (CDC) for testing.

Zika and Dengue PRNT testing will be performed year-round when indicated and with prior approval only (See Note 3).

RESULT INTERPRETATION:

Reference Range: Neutralizing antibody NOT DETECTED.

Neutralizing Antibody Detected: Results indicate neutralizing antibody against the viral agent(s) listed was detected in the specimen.

Neutralizing Antibody Not Detected: Results indicate neutralizing antibody against the agent(s) listed was not detected in the specimen.

The PRNT does not differentiate between IgM and IgG antibody.

IgM antibody in a patient specimen may not neutralize the virus therefore, a positive MIA/EIA with a negative PRNT result is possible.

A four-fold or more rise in neutralizing antibody titer between appropriately timed acute and convalescent sera is sufficient to establish a confirmed case of WNV, SLEV, EEEV and CGV (LACV and JCV) arboviral infection.

In some cases, differentiating neutralizing antibodies due to SLEV, WNV, dengue, Zika, or other flaviviruses cannot be determined. These will be resulted as “Flavivirus Genus – Neutralizing Antibody DETECTED”.

In some cases, differentiating neutralizing antibodies due to LACV, JCV, or other California serogroup viruses cannot be determined. These will be resulted as “California Serogroup – Neutralizing Antibody DETECTED”.

FEES:

Not Applicable.

NOTES:

- Arboviruses are transmitted to humans by hematophagous arthropods (i.e., mosquitoes and ticks); therefore, testing is only available during warmer months when transmission is probable or for travel related testing for specific viruses.

- Only hospitalized patients with any of the following syndromes from May 1 – October 31 should be tested for WNV, SLEV, EEEV and CGV (LACV and JCV):

Viral encephalitis, a clinical diagnosis characterized by:

  - Fever > 38°C or 100°F; and,

  - CNS involvement, including altered mental status (altered level of consciousness, confusion, agitation, or lethargy) or other cortical signs (cranial nerve palsies, paresis or paralysis, or convulsions); and,

  - An abnormal CSF profile suggesting a viral etiology (a negative bacterial stain and culture, pleocytosis [WBC between 5 and 1500 cells] and/or an elevated protein level >40 mg/dL).

Viral meningitis without recovery in 72 hours. (Aseptic meningitis due to enterovirus is typically of short duration and has a benign clinical course).

Guillain-Barre syndrome, especially with atypical features, such as fever, altered mental status, and/or pleocytosis.

- The CDC is no longer recommending routine Zika antibody testing for symptomatic individuals or pregnant women. To obtain approval for Zika or Dengue antibody testing, please call the Bureau of Epidemiology at 517-335-8165.

ALIASES:

Arbovirus neutralizing antibody test.