Michigan Department of Health and Human Services

Bureau of Laboratories

AZ.018 Fungal Culture Referred for Identification

Rev 03/30/2026

ANALYTES TESTED:

Fungal culture isolates referred for identification.

USE OF TEST:

Identification of fungus (mold), yeast, and Actinomycetes (Nocardia, etc.) isolates.

SPECIMEN COLLECTION AND SUBMISSION GUIDELINES:

Test Request Form: DCH-0583 (Fungal Identification-Isolate ID).

Specimen Submission Guidelines: DCH-0721.

Transport Temperature: Refrigerated to ambient (2º- 30ºC).

Patient Preparation: None.

SPECIMEN TYPE:

- Specimen Required:

  - Fungal / yeast isolate growth on solid media in screw cap tubes.

  - Actinomycetes growth on solid media in screw cap tubes.

- Minimum Acceptable Volume: Not applicable.

- Container:

  - Infectious Substance Category A Shipper.

  - Infectious Substance Category B Shipper.

- Shipping Unit:

  - Unit 42A-known Coccidioides species isolates.

  - Unit 42B-unknown fungal isolates.

SPECIMEN REJECTION CRITERIA:

Critical Data Needed for Testing:

Patient Name.

Patient Date of Birth.

Specimen Source.

Date Collected.

Submitting Agency.

Incomplete test requisition information may lead to testing cancelation or a delay in testing and reporting.

Specimens will be rejected if they:

Are received with either specimen container unlabeled or incomplete test request form or mismatch of the specimen label to the test request form.

Are submitted in an inappropriate manner, i.e., are not shipped according to either Federal Postal Regulations and/or United Parcel Service/Federal Express or other applicable, appropriate standards.

Are received broken or leaking.

Are received on petri plates.

Isolates received outside of appropriate transport temperature may not be tested.

TEST PERFORMED:

- Yeast identification by MALDI-TOF.

- Actinomyces identification by MALDI-TOF and 16S sequencing from sterile sites.

- Fungal identification by correlation of visual macroscopic examination, direct microscopic exam, and other biochemical techniques when needed.

- Blastomyces dermatitidis species complex, Coccidioides immitis/posadasii, and Histoplasma capsulatum identification by MALDI-TOF in conjunction with macroscopic and microscopic exam.

- Turnaround Time:

  - Yeast and Actinomycetes are reported within 2-7 days.

  - Final fungal identification may take up to 3 weeks.

  - Testing is performed at the Bureau of Laboratories, Monday-Friday.

RESULT INTERPRETATION:

All identifications are reported to species level, if speciation is not possible, the isolate will be reported to the genus level and may be grouped with other similar organisms.

The submitting agency is notified by phone for identification of Blastomyces dermatitidis species complex, Coccidioides immitis/posadasii, Histoplasma capsulatum, and Candida auris when there is no previous history.

REFERENCE RANGE:

Not Applicable.

FEES:

Not Applicable.

NOTES:

Candida auris isolates from urine and sterile sites such as Blood and CSF are forwarded to the Wisconsin State Lab of Hygiene for susceptibility testing.

ALIASES:

Mold identification; Yeast identification.