Michigan Department of Health and Human Services

Bureau of Laboratories

AZ.019 HCV Antibody Screening Chemiluminescent Immunoassay (CLIA)

Rev 01/24/2025

ANALYTES TESTED:

Hepatitis C Virus (HCV) antibody.

USE OF TEST:

The HCV assay is utilized for the serologic diagnosis of HCV infection. This is a chemiluminescent immunoassay (CLIA) run on the ADVIA Centaur XPT instrument which uses two HCV recombinant (c200 and NS5) antigens and one synthetic HCV core (c22) peptide to detect patient antibodies.  All reactive specimens, if shipped frozen or on cold packs, will automatically receive quantitative HCV Viral Load testing, (or HCV NAT testing for low volume specimens).

SPECIMEN COLLECTION AND SUBMISSION GUIDELINES:

Test Request Form MDHHS-6084.

Specimen Collection and Submission.

Transport Temperature: on frozen cold packs or dry ice (<8°C).

DO NOT send at room temperature.

SPECIMEN TYPE:

Specimen Required: Serum.

Minimum Acceptable Volume: 2 specimen tubes with at least 2.0 mL each.

Containers: 3 mL polypropylene screw capped tube.

Shipping Unit: Unit 8A.

SPECIMEN REJECTION CRITERIA:

Specimens lacking two unique patient identifiers (i.e., full name, date of birth) will not be tested.

Plasma is not acceptable for testing by this method.

TEST PERFORMED:

Methodology: Chemiluminescent Immunoassay (CLIA)

Turnaround Time: Non-reactive: 2-3 days. Reactive: up to 5 days.

Testing is performed at the Bureau of Laboratories, Monday-Friday.

RESULT INTERPRETATION:

Reference Range: NON-REACTIVE (No antibody detected).

Non-reactive Result:

  - A nonreactive anti-HCV antibody result does not exclude the possibility of exposure to hepatitis C virus. Antibody levels below detectable limits may be due to early infection or weakened antibody response in immunocompromised patients. HCV antibody generally develops within 2-8 weeks following exposure however, in some individuals, antibody may be undetectable for up to 6 months.  HCV viral load testing may be specifically requested on known positive HCV patients when monitoring treatment by noting on the requisition form “’Viral Load Only’ for known positive/treatment monitoring”.

Reactive (or Equivocal) Result:

  - A reactive HCV antibody result is consistent with current infection, previous infection, or biological false positive. If the serum specimen is received frozen or refrigerated, HCV RNA viral load testing will be performed to identify current infection. Specimens shipped at room temperature will not be suitable for RNA testing and will be resulted as NOT TESTED.

FEES:

None.

NOTES:

Anti-HCV testing is available free-of-charge to local health department clients and centers that perform testing associated with Michigan Department of Health & Human Services (MDHHS) that meet recommended testing criteria and have no financial means of accessing testing at private sector laboratories.

ALIASES:

HCV screen.