Michigan Department of Health and Human Services

Bureau of Laboratories

# AZ.086 HIV Antigen/Antibody Multiplex Flow Immunoassay (IA) Screening Test

Rev 02/05/2025

## ANALYTES TESTED:

HIV-1 p24 antigen, HIV-1 antibody, and HIV-2 antibody.

## USE OF TEST:

The HIV Antigen/Antibody Multiplex Flow Immunoassay Screening test is a qualitative immunoassay used for the detection of HIV-1 p24 antigen and antibodies against HIV-1 and HIV-2 in human sera. This assay is routinely performed as a screening test for all specimens ordered on the HIV Ag/Ab panel. All equivocal or reactive specimens will be reflexed to the Geenius HIV 1/2 Supplemental Assay.

## SPECIMEN COLLECTION AND SUBMISSION GUIDELINES:

Test Request Form: MDHHS-6084.

Specimen Submission Guidelines: DCH-0812.

Transport Temperature: Refrigerated with frozen ice packs (2-8°C) or frozen with dry ice (≤ -20°C). DO NOT send at room temperature.

Patient Preparation: None.

## SPECIMEN TYPE:

- Specimen Required: Serum.

- Minimum Acceptable Volume: 2 mL serum.

- Container: Use 5.0 mL screw capped polypropylene tube provided.

- Shipping Unit(s): Unit 8A.

## SPECIMEN REJECTION CRITERIA:

Critical Data Needed for Testing:

- Name.

- Patient Date of Birth.

- Specimen Source.

- Date Collected.

- Submitting Agency.

Incomplete test requisition information may lead to testing cancelation or a delay in testing and reporting.

Plasma, lipemic, icteric, grossly hemolyzed, or contaminated specimens are unacceptable for testing and will be reported as Unsatisfactory.

Specimens will also be rejected if:

- The specimen was collected >7 days prior and is received un-refrigerated OR the specimen was collected >28 days prior.

- Specimens lacking two unique patient identifiers (i.e., full name and date of birth, patient number or specimen number) will not be tested.

- The specimen container is received leaking or has been contaminated by another leaking specimen in the same bag.

- The specimen is not properly labeled or the test requisition not completed.

- The specimen label does not match the test requisition.

- The collection device was expired on date of collection.

- Specimens received outside of appropriate transport temperature may not be tested.

## TEST PERFORMED:

- Methodology: Immunoassay (IA).

- Turnaround Time: 1-3 business days.

- Reactive or Equivocal specimens are automatically referred to the Geenius HIV 1/2 Supplemental Assay (see AZ.085).

- Testing is performed at the Bureau of Laboratories, Monday-Friday.

## RESULT INTERPRETATION:

Reference Range: Non-Reactive.

## FEES:

Not applicable.

## NOTES:

- This test does not determine the direct presence of HIV nor the clinical diagnosis of AIDS or ARC.

- Repeatable reactive or equivocal IA specimens are automatically referred without request to the Geenius Supplemental Assay (AZ.085) for differentiation between HIV-1 and HIV-2 antibodies before reporting. No preliminary results on reactive or equivocal IA testing are reported.

- Results of this test are not reported by telephone. All results are reported only to the sender.

- Specimens will be rejected if not in compliance with submission requirements.

- The performance of this assay has not been established for individuals younger than 2 years of age.

## ALIASES:

Human Immunodeficiency Virus Type 1 and Type 2; Bio-Rad Bioplex Ag/Ab IA.