Michigan Department of Health and Human Services

Bureau of Laboratories

# AZ.026 HIV-1 Dried Blood Spots Enzyme Immunoassay (EIA) Screening Test

Rev 02/05/2025

  - ANALYTES TESTED:

HIV-1 Antibodies.

  - USE OF TEST:

Detection of HIV-1 Antibodies in dried blood spot specimens. All reactive specimens reflex to confirmatory testing which requires the additional submission of a serum sample.

  - SPECIMEN COLLECTION AND SUBMISSION GUIDELINES:

- Test Request Form and Specimen Submission Guidelines (DCH-0689).

- Transport Temperature: Ambient (room) temperature (15-30°C).

- Patient Preparation: None.

  - SPECIMEN TYPE:

- Specimen Required: Only dried blood spots on MDHHS blood spot examination cards will be accepted.

- Minimum Acceptable Volume: Must attain at least two completely filled and saturated circles of blood on the blood spot card. Four filled spots are preferred.

- Container: Supplied filter card.

- Shipping Unit: Unit 50.

  - SPECIMEN REJECTION CRITERIA:

Critical Data Needed for Testing:

- Patient Name.

- Patient Date of Birth.

- Specimen Source.

- Date Collected.

- Submitting Agency.

Incomplete test requisition information may lead to testing cancelation or a delay in testing and reporting.

Specimens will also be rejected if:

- Specimens lacking two unique patient identifiers (i.e., full name and date of birth, patient number or specimen number) will not be tested.

- The specimen was collected > 30 days prior.

- Improper collection supplies were used for specimen collection.

- The specimen is not properly labeled, or the test requisition not completed.

- The specimen label does not match the test requisition.

- The filter card is expired on date of collection.

- Specimens received outside of appropriate transport temperature may not be tested.

  - TEST PERFORMED:

Methodology: Enzyme Immunoassay (EIA).

Turnaround Time: 7 days.

Testing is performed at the Bureau of Laboratories, Monday-Friday.

  - RESULT INTERPRETATION:

Reference Range: Non-reactive.

  - FEES:

Not Applicable.

  - NOTES:

No preliminary reactive results on EIA testing are reported. Specimens found to be repeatedly reactive by EIA will have an automatic report sent with a comment asking the submitter to send in a serum sample for confirmatory testing.

Contact MDHHSlab@michigan.gov to order blood spot examination cards.

This test does not determine the direct presence of HIV nor the clinical diagnosis of AIDS or AIDS Related Complex (ARC).

Results of this test are not reported by telephone. All results are reported only to the sender.

Specimens will be rejected if not in compliance with submission requirements (Refer to DCH-0689).

High humidity (>60%) may influence specimen integrity. Specimens submitted in sealed bags with desiccant and humidity indicators may be necessary.

Dried blood spots can be stored at room temperature for up to 30 days from the time of collection.

This test is not recommended in cases where results are needed within two weeks.

  - ALIASES:

Human Immunodeficiency Virus Type 1, HIV-1, HIV.