DEPARTMENT OF LICENSING AND REGULATORY AFFAIRS

BUREAU OF FIRE SERVICES

FIRE MARSHAL DIVISION

COLLEGE/UNIVERSITY SELF-INSPECTION CHECKLIST

| FACILITY NAME: Click here to enter text. | COUNTY: Click here to enter text. |
| --- | --- |
| BUILDING NAME: Click here to enter text. | DATE: Click here to enter a date. |
| ADDRESS: Click here to enter text. | CITY/STATE/ZIP: Click here to enter text. |
| CONTACT: Click here to enter text. | E-MAIL: Click here to enter text. |
| PHONE NUMBER: Click here to enter text. |  |
| E-mail completed checklist & documentation to: | LARA-postsecondary@michigan.gov |

| MEANS OF ESCAPE/EGRESS ☐ Means of egress (corridors, exits) are clear and unobstructed. ☐ All doors have non-locking against egress hardware ☐ Any door locking systems installed are tested and are operational ☐ Illuminated exit signs are operational ☐ Emergency lighting is operational. HAZARDOUS AREAS ☐ Hazard room doors self-close and positively latch. FIRE EXTINGUISHERS ☐ Fire Extinguishers have operational pressure and are undamaged. | DOCUMENT REVIEW (PROVIDE RECORDS WHERE APPLICABLE) ☐ Fire Alarm Testing: Annual Test Date: Click here to enter a date. ☐ Sprinkler Testing (where installed/required): ☐Quarterly: ☐Annual: Click here to enter a date. ☐ Fire Extinguisher Inspections: ☐ Monthly inspections ☐ Annual maintenance: Click here to enter a date. ☐ Emergency Lighting: ☐ Monthly 30 second tests ☐ Annual 90-minute test ☐ Emergency Generator Testing Records ☐ Weekly Inspections ☐ Monthly Load Testing _______________________ Signature __________________________ Title |
| --- | --- |