## Laboratory_Prelicensure Inspect
PERSONNEL
Safety compliance facilities (SCFs) provide complex laboratory services which require personnel to possess the qualifications necessary to ensure their professional competence. This section, ensures duties carried out by personnel are clearly defined and changes of personnel in key positions will not affect continuity of operations/certification. This section provides guidance for the baseline requirements for laboratory personnel.
IT Format | Compliant Yes, No, N/A
Marihuana Licenses Rule 7 (3 )(f) (R. 420.107(3)(f)) Evidence of Compliance: (1) CV / Resume OR position description / job posting (if unstaffed). (2) Proposed or existing organizational chart. (3) Outline of roles and responsibilities. Comments: | INTERNAL NOTE: must be YES to pass pre-licensure
TESTS AND METHODS
Analytical Processes: The analytical process can be described as consisting of four principle stages of operation: 1. Sampling 2. Isolation/separation of the desired constituent in a measurable state 3. Measurement of the desired constituent 4. Calculation and interpretation of the data
Methods and procedures are not required in order to pass inspection. This section is included for applicants who have these items at the time of inspection. In the absence of written methods and procedures, the inspector will discuss with the applicant each portion of this checklist and work cooperatively to verify that the applicant has a reasonable understanding of how they plan to address each part of the inspection as soon as they are able.
IT Format | Compliant Yes, No, N/A
Sampling and Testing Rule 5 (R. 420.305 (2)) Evidence of Compliance: (1) Complete validation report which must include, at minimum, the following parameters: accuracy, precision, analytical sensitivity, analytical specificity (interferences), limit of detection (LOD), limit of quantification (LOQ), and verification of the reportable range. (2) All raw data associated with the validation process. (3) Proficiency Tests, externally graded with "Acceptable" reports for each analyte. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) Written SOPs- must include approval (signature and date) by appropriate staff. (2) Approval form (provided by MRA) prior to implementation of new or revised methods. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: Written SOP includes the following: (1) Step-by-step instructions and sufficient detail to perform assay and analyses. (2) Instructions for equipment operation. (3) Acceptability criteria for results reporting and quality control. (4) Additional worksheets, abbreviated copies, logs, etc. should be clearly referenced. Comments:
GENERAL
IT Format | Compliant Yes, No, N/A
Operations Rule 4 (R. 420.204 (4)) Evidence of Compliance: (1) Proof of accreditation from co-located laboratory (2) Proof of analytical scientific testing as evidenced by accreditation type. (3) Clearly delineated separation of testing environments where marihuana products are both stored and analyzed separately from other materials. Comments:
Licensees Rule 12 (R 420.112 (5)) Evidence of Compliance: (1) Copy of MDARD license or document issued from MDARD giving express permission to perform hemp testing on their behalf. Comments:
Industrial Hemp for Marihuana Businesses Rules Rule 2 (R 420.1002) Evidence of Compliance: (1) SOP's must address subparts 2-5 in their entirety. (2) SOP's must distinguish the testing and sample prep from marijuana samples. Comments:

## Laboratory_90day Inspection
PERSONNEL
Safety compliance facilities (SCFs) provide complex laboratory services which require personnel to possess the qualifications necessary to ensure their professional competence. This section, ensures duties carried out by personnel are clearly defined and changes of personnel in key positions will not affect continuity of operations/certification. This section provides guidance for the baseline requirements for laboratory personnel.
IT Format | Compliant Yes, No, N/A
Marihuana Licenses Rule 7 (3 )(f) (R. 420.107(3)(f)) Evidence of Compliance: (1) CV / Resume OR position description / job posting (if unstaffed). (2) Proposed or existing organizational chart. (3) Outline of roles and responsibilities. Comments: | INTERNAL NOTE: must be YES to pass pre-licensure
TESTS AND METHODS
Analytical Processes: The analytical process can be described as consisting of four principle stages of operation: 1. Sampling 2. Isolation/separation of the desired constituent in a measurable state 3. Measurement of the desired constituent 4. Calculation and interpretation of the data
Methods and procedures are not required in order to pass inspection. This section is included for applicants who have these items at the time of inspection. In the absence of written methods and procedures, the inspector will discuss with the applicant each portion of this checklist and work cooperatively to verify that the applicant has a reasonable understanding of how they plan to address each part of the inspection as soon as they are able.
IT Format | Compliant Yes, No, N/A
Sampling and Testing Rule 5 (R. 420.305 (2)) Evidence of Compliance: (1) Complete validation report which must include, at minimum, the following parameters: accuracy, precision, analytical sensitivity, analytical specificity (interferences), limit of detection (LOD), limit of quantification (LOQ), and verification of the reportable range. (2) All raw data associated with the validation process. (3) Proficiency Tests, externally graded with "Acceptable" reports for each analyte. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) Written SOPs must include approval (signature and date) by appropriate staff. (2) Approval form (provided by MRA) prior to implementation of new or revised methods. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: Written SOP includes the following: (1) Step-by-step instructions and sufficient detail to perform assay and analyses. (2) Instructions for equipment operation. (3) Acceptability criteria for results reporting and quality control. (4) Additional worksheets, abbreviated copies, logs, etc. should be clearly referenced. Comments:
GENERAL
IT Format | Compliant Yes, No, N/A
Operations Rule 4 (R. 420.204 (4)) Evidence of Compliance: (1) Proof of accreditation from co-located laboratory. (2) Proof of analytical scientific testing as evidenced by accreditation type. (3) Clearly delineated separation of testing environments where marihuana products are both stored and analyzed separately from other materials. Comments:
Industrial Hemp for Marihuana Businesses Rules Rule 2 (R 420.1002) Evidence of Compliance: (1) Copy of MDARD license or document issued from MDARD giving express permission to perform hemp testing on their behalf. Comments:
Industrial Hemp for Marihuana Businesses Rules Rule 2 (R 420.1002) Evidence of Compliance: (1) SOP's must address subparts 2-5 in their entirety. (2) SOP's must distinguish the testing and sample prep from marijuana samples. Comments:

## Laboratory_SemiAnnual Inspectio
PERSONNEL
Safety compliance facilities (SCFs) provide complex laboratory services which require personnel to possess the qualifications necessary to ensure their professional competence. This section, ensures duties carried out by personnel are clearly defined and changes of personnel in key positions will not affect continuity of operations/certification. This section provides guidance for the baseline requirements for laboratory personnel.
IT Format | Compliant Yes, No, N/A
Marihuana Licenses Rule 7(3 )(f) (R. 420.107(3)(f)) Evidence of Compliance:(1) CV / Resume OR position description / job posting (if unstaffed). (2) Proposed or existing organizational chart. (3) Outline and audit of roles and responsibilities. Comments:
Operations Rule 6 (R 420.206) Evidence of Compliance: (1) In the quality manual, the SCF clearly delineates their proposed "contingency plan" which must include appointing a staff member that meets the requirements for supervisory analyst AND notification sent to MRA (2) Organizational chart Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(c)) Evidence of Compliance: (1) Initial Demonstration of Capability and Ongoing Demonstration of Capability (when applicable, not less than annually) must be provided for each employee related to all of their job duties. (2) CV / Resume for each employee (3) Quality control manual includes all analyses and an ongoing log of which employees are authorized to perform those analyses including, but not limited to: performing analyses with/without supervision, sample processing, test performance, results reporting, quality control, data review, etc. Comments:
TESTS AND METHODS
Analytical Processes: The analytical process can be described as consisting of four principle stages of operation: 1. Sampling 2. Isolation/separation of the desired constituent in a measurable state 3. Measurement of the desired constituent 4. Calculation and interpretation of the data
IT Format | Compliant Yes, No, N/A
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: Written SOP includes the following: (1) Step-by-step instructions and sufficient detail to perform assay and analyses. (2) Instructions for equipment operation. (3) Acceptability criteria for results reporting and quality control. (4) Additional worksheets, abbreviated copies, logs, etc. should be clearly referenced Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) Written SOPs- must include approval (signature and date) by appropriate staff. (2) Approval form (provided by MRA) prior to implementation of new or revised methods. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) All SOPs are available to ALL technicians / staff. This may be accomplished by having the files readily available as hard copy or easily accessible digital copy. (2) Reference docs should be posted where appropriate (for instance, sampling weights, dilutions, etc.) Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) Quality control manual must include and SOP or a section specifically addressing pass/fail criteria for all analyses. This may also be included in each SOP or as an addendum. (2) Quality control manual must include a procedure for complaints received, re-analysis, and re-testing. (3) Complaint log Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) Quality control manual includes criteria for chain of custody of samples once they arrive at the testing facility including security of samples, aliquots, extracts, and records. Comments:
Sampling and Testing Rule 5 (R. 420.305 (8)) Evidence of Compliance: (1) Sample retention policy >/=30 days (2) Metrc tagging during retention period (3) Chain of custody log through sample lifecycle (4) Sample disposal SOP (5) Name of hazardous waste disposal company Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(c)) Evidence of Compliance: (1) Corrective Action / Preventative action forms and logs. (2) Customer complaint log (3) Instrument maintenance log Comments:
Sampling and Testing Rule 5 (R. 420.305 (2)) Evidence of Compliance: (1) Laboratory specified validation procedure is included in laboratory protocols and procedures Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) QA/QC review and specifications are outlined in SOPS (2) Procedure for review of results of test calibrators, control, standards, results etc. are included in SOPs for all analyses performed by the laboratory. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) The SOPs include criteria for sample disposal. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) The SOPs include criteria for the preparation and identification of reagents, solutions, standards, calibrators, and controls (2) SOPs include worksheets, tracking documents, etc. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) The SOPs includes criteria for the frequency and number of control and calibration materials. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) The SOPs include criteria for recording and reporting assay results. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) All SOPs include step-by-step instructions with sufficient detail to perform the assay (2) SOPs include equipment operation / instrument logs Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b)) Evidence of Compliance: (1) All SOPs include acceptability criteria for the results of controls. Comments:
QUALITY ASSURANCE & QUALITY CONTROL
Laboratory Quality Assurance Programs (QAP) encompass a range of activities that enable laboratories to achieve and maintain high levels of accuracy and proficiency despite changes in test methods and the volume of specimens tested. Test results produced by SCFs have a significant influence on public health and industry product acceptability. A good QA program at least: • Establishes SOPs for each step of the laboratory testing process, ranging from specimen handling to instrument performance validation. • Defines administrative requirements, such as mandatory recordkeeping, data evaluation, and internal audits to monitor adherence to SOPs. • Specifies corrective actions, documentation, and the persons responsible for carrying out corrective actions when problems are identified; and • Sustains high-quality employee performance.
IT Format | Compliant Yes, No, N/A
Sampling and Testing Rule 5 (R. 420.305 (1)(a)) Evidence of Compliance: (1) The laboratory has a quality control and quality assurance program that conforms to ISO/IEC 17025:2005 or 17025:2017 standards. (2) After 1 year of licensure, the laboratory possess a scope of accreditation issued by an ILAC recognized accreditation body or similar. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(c )) Evidence of Compliance: (1) Instrument maintenance and repair log (2) Vendor maintenance agreements OR maintain ace schedule. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(c )) Evidence of Compliance: (1) Calibration checks for all instruments (2) Calibration check schedule (3) Calibration check log and any associated data Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(c )) Evidence of Compliance: (1) Required maintenance log (2) CAPAs associated with maintenance. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(c )) Evidence of Compliance: (1) Quality control manual has established guidelines for ongoing review of quality systems. (2) Laboratory has established a review process on an annual or semi-annual basis. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(c )) Evidence of Compliance: (1) Quality control manual has established guidelines for ongoing review of data. (2) Laboratory has established methods from tracking data on a daily, weekly, monthly basis. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(c )) Evidence of Compliance: (1) The laboratory has certificates of analysis for all analytical balances, weights, pipettes etc. (2) The laboratory maintains a record of maintained and verification for all of the aforementioned. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(c)) Evidence of Compliance: (1) Check labels on all in-house prepared solutions (2) Labels should be assigned lot number that corresponds to preparation sheets, these sheets should be maintained and easily referenced. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(a )) Evidence of Compliance: (1) Within one year from the date of license issuance, the laboratory can present the ISO/IEC 17025:2017 scope of accreditation for all tests the laboratory will perform. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(a)) Evidence of Compliance: (1) The ISO 17025:2017 scope of accreditation specifies each analyte and testing category. Comments:
Sampling and Testing Rule 5 (R. 420.305 (1)(b )) Evidence of Compliance: (1) Field sampling SOP that is a part of the quality manual (2) SOP must be approved by the agency (3) The SOP must follow METRC requirements for traceability of samples (4) The SOP(s) must include detailed information on sample traceability in Metrc Comments:
Sampling and Testing Rule 5 (R. 420.305 (13)) Evidence of Compliance: (1) Random audit of 10 samples demonstrating compliance with this rule. Comments:
Sampling and Testing Rule 5 (R. 420.305 (14)) Evidence of Compliance: (1) Review quality manual on site to verify PT schedule and that targets are being met. (2) Satisfactory PT results for all analyses which the laboratory is approved to perform. (3) If unacceptable results were documented, associated CAPAs. Comments:
Sampling and Testing Rule 5 (R. 420.305 (8)) Evidence of Compliance: (1) SOP or written procedure in an SOP that outlines the laboratory sample retention policy Comments:
Sampling and Testing Rule 5 (R. 420.305 (2)) Evidence of Compliance: (1) Complete validation report which must include, at minimum, the following parameters: accuracy, precision, analytical sensitivity, analytical specificity (interferences), limit of detection (LOD), limit of quantification (LOQ), and verification of the reportable range. (2) All raw data associated with the validation process. (3) Proficiency Tests, externally graded with "Acceptable" reports for each analyte. Comments:
SAMPLING & TRACKING
Sample tracking is an important component of Quality Control and is imperative to maintaining chain of custody. Sample tracking ensures proper sample identification from acceptance to destruction and accuracy in reported test results.
IT Format | Compliant Yes, No, N/A
Sampling and Testing Rule 4 (R. 420.304 (2)(a)) Evidence of Compliance: (1) Sampling and transportation SOP Comments:
Sampling and Testing Rule 4 (R. 420.304 (2)(b)) Evidence of Compliance: (1) Sampling SOP must be detailed and must include all requirements listed in rule; -At least 0.5% of the harvest batch -At least 50% homogenized for testing -Statistically valid sampling method (must be approved and have appropriate references) Comments:
Sampling and Testing Rule 4 (R. 420.304 (2)(e)) Evidence of Compliance: (1) Field sampling SOP (2) Chain of Custody forms (3) Client sampling agreement (4) Internal tracking SOP Comments:
Sampling and Testing Rule 4 (R. 420.304 (2)(f)) Evidence of Compliance: (1) Facility will perform an Internal audit to check for compliance quarterly. Comments:
Sampling and Testing Rule 4 (R. 420.304 (2)(i)) Evidence of Compliance: (1) Specified in sampling SOP Comments:
Sampling and Testing Rule 7 (R. 420.307) Evidence of Compliance: (1) Written policy for research and development testing from licensed facilities must be outlined in the Quality Manual Comments:
Sampling and Testing Rule 6 (R. 420.306 (1)) Evidence of Compliance: (1) Written policy for retesting must be outlined in the quality manual (2)The sampling SOP must include guidance for the collection of samples for retesting. Comments:
Sampling and Testing Rule 4 (R. 420.304 (j)) Evidence of Compliance: (1) A copy of the chain of custody document used (any changes or revisions should be sent to the MRA for review) Comments:
GENERAL
Operations Rule 4 (R. 420.204 (4)) Evidence of Compliance: (1) Copy of accreditation Comments:
Operations Rule 6 (R 420.206 (13)) Evidence of Compliance: (1) Written SOP which includes the process for when the MRA requests an audit Comments:
Marihuana Licensees Rule 7 (R 420.107) Evidence of Compliance: (1) Accreditation or proof of drug testing services Comments:
Marihuana Licensees Rule 7 (R 420.107) Evidence of Compliance: (1) Quality Manual (2) SOPs for required tests (3) Metrc Audit (4) Laboratory space may not be accessed by general public (5) Check credentials and assigned roles of current employees Comments:
Marihuana Licensees (R 420.112) Evidence of Compliance: (1) Written SOP that includes internal COC and product labeling requirements. (2) For medical SCFs how does the facility label patient and/or caregiver product. (3)For medical, caregiver intake log Comments:
Operations Rule 12 (R 420.212) Evidence of Compliance: (1) SOP for sampling and storage requirements (2) Chain of Custody Comments:
Licensees Rule 12 (R 420.112) Evidence of Compliance: (1) Copy of MDARD license or other document which provide permission from MDARD to perform hemp testing. Comments:
Industrial Hemp for Marihuana Businesses Rules Rule 2 (R 420.1002) Evidence of Compliance: (1) SOP's must address subparts 2-5 in their entirety. (2) SOP's must distinguish the testing and sample prep from marijuana samples. Comments:
Note on A58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I don't think this rule is found under Opeartions - I found it under Marihuana Licensees
Note on A59: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I don't think this rule is found under Opeartions - I found it under Marihuana Licensees
Note on A61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Found this Rule test in Marihuana Licensees